NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/310 Freestanding grease separators and converters

NBS Specification:



This product is associated with the following NBS clauses:

[R11 Above ground foul drainage systems](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Grease-TrapsGIKF9075Internalstainless)

* [380 GREASE TRAPS AND CONVERTERS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Grease-TrapsGIKF9075Internalstainless)

Product Specification:

GIK- Buried Outdoor - GIK9540 – NS15

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: GIK9540 (Recessed Internal) Grease Trap

(GIK9075 – GIK9550)

 • Size: Bespoke/ 1768mm x 1272mm x 1454mm high – NS15

(NS2, 4, 7, 10, 15, 20)

 • Material (body): Grade 304 stainless/ Grade 316 Stainless steel

 • Finish (body): Mill finish

 • Material (cover): Grade 304 stainless/ Grade 316 Stainless steel

 • Finish (Cover): Chequer Plate

 • Cover: Loading FACTA A, B, C, D

Product Specification- Recommended:

GIK- Buried Outdoor - GIK9540 – NS15

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: GIK9540 (Recessed Internal) Grease Trap

 • Size: 1768mm x 1272mm x 1454mm high – NS15

 • Material (body): Grade 304 stainless

 • Finish (body): Mill finish

 • Material (cover): Grade 304 stainless

 • Finish (Cover): Chequer Plate

 • Cover: Loading FACTA B