NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/310 Freestanding grease separators and converters

NBS Specification:

NBS Buliding logo

This product is associated with the following NBS clauses:

[R11 Above ground foul drainage systems](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Grease-TrapsGIKF9075Internalstainless)

* [380 GREASE TRAPS AND CONVERTERS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Grease-TrapsGIKF9075Internalstainless)

Product Specification:

GIKF9075 (Under Sink Freestanding) NS2

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: GIK9075 (Under Sink Freestanding) Grease Trap

• Size: Bespoke/ 1048mm x 748mm x 606mm high – NS2

• Material (body): Grade 304 stainless/ Grade 316 Stainless steel

• Finish (body): Mill finish

• Material (cover): Grade 304 stainless/ Grade 316 Stainless steel

• Finish (Cover): Mill finish

• Cover: Non-Trafficked

Product Specification- Recommended:

GIKF9075 (Under Sink Freestanding) NS2

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: GIK9075 (Under Sink Freestanding) Grease Trap

• Size: 1048mm x 748mm x 606mm high – NS2

• Material (body): Grade 304 stainless

• Finish (body): Mill finish

• Material (cover): Grade 304 stainless

• Finish (Cover): Mill finish

• Cover: Non-Trafficked