NBS Specification:



This product is associated with the following NBS Create clause:

45-70-70/480 Stainless steel handrails

NBS Specification:



This product is associated with the following NBS clauses:

[L30 Stairs/ ladders/ walkways/ handrails/ balustrades](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Street-FurnitureHandrailsLEDHandrail)

* [580 PROPRIETARY HANDRAILS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Street-FurnitureHandrailsLEDHandrail)

Product Specification:

Kent Airport Balustrade KAB1300(H)

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: Kent Airport Balustrade KAB1300(H)

 • Type: Buried flange /Cast-in /Visible flange

 • Size:

* Height: 1300 mm /Special order
* Length: 3500 mm /Special order
* Width : 101 mm /Special order

 • Finish: Bead Blasted /Satin Finish 320 Grit Polished /Electropolished