NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/310 Freestanding grease separators and converters

NBS Specification:



This product is associated with the following NBS clauses:

[R11 Above ground foul drainage systems](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Grease-TrapsGIKF9075Internalstainless)

* [380 GREASE TRAPS AND CONVERTERS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Grease-TrapsGIKF9075Internalstainless)

Product Specification:

GIKF9075 (External double sealed stainless)

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: GIK9075 (External double sealed stainless) Grease Trap

 • Finish: Bead blasted /Polished

 • Cover: CS /CH /CHD