NBS Specification:



This product is associated with the following NBS Create clause:

45-75-95/480 Corner guards

NBS Specification:



This product is associated with the following NBS clauses:

[M40 Stone/ Concrete/ Quarry/ Ceramic tiling/ Mosaic](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

* [110 TILING TO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [115 NATURAL STONE COVERING TO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [120 MOSAIC TO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

[M41 Terrazzo tiling/ in situ terrazzo](https://www.ribaproductselector.com/products/terrazzo-tiling-in-situ-terrazzo/M41.aspx)

* [110 TERRAZZO TILING](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [120 IN SITU TERRAZZO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [130 PRECAST TERRAZZO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [140 MARBLE TILING](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

[N10 General fixtures/ furnishings/ equipment](https://www.ribaproductselector.com/products/general-fixtures-furnishings-equipment/N10.aspx)

* [350 MISCELLANEOUS FITTINGS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

[P20 Unframed isolated trims/ skirtings/ sundry items](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

* [170 PROPRIETARY](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

Product Specification:

Kent Hidden Fixing Corner Guards

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: Kent Hidden Fixing Corner Guards

 • Type: KHCG-50 /KHCG-60 /KHCG-70 /KHCG-80 /KHCG-90 /KHCG-100

 • Material:

 - Type: 1.4301 (304) stainless steel /1.4401 (316) stainless steel

 - Thickness: 2 mm /3 mm

 - Finish: 320 grit polished and electropolished /Bead blasted /Bead blasted and electropolished /Electropolished /Satin, 320 grit polished /Powder coated