NBS Specification:



This product is associated with the following NBS Create clause:

45-35-86/335 Litter bins

NBS Specification:



This product is associated with the following NBS clauses:

[Q50 Site/street furniture/equipment](https://www.ribaproductselector.com/products/sitestreet-furnitureequipment/Q50.aspx)

* [240 LITTER BINS](https://www.ribaproductselector.com/products/litter-bins/Q50_240.aspx)

Product Specification:

Kent Shoreditch Bin – KSDLB730

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: Kent Shoreditch Bin - KSDLB730

 • Type: Buried flange /Mounted to existing pole on site /Invisible flange

 • Size:

 - Bin:

 - Diameter: 350 mm /Special order - Capacity: 45 L /Special order - Pole: 141 mm /Special order

 • Material: Stainless steel, grade 304L (1.4307) /Stainless steel, grade 316L (1.4404)

 • Finish:

 - Bin: Bright peened /Bright satin /Electropolished /Satin 320 grit polish /Shot peened

 - Pole:

 • Accessories/ Other requirements: Not required /Words/ logos/ symbols