NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/320 Covers, gratings and frames for access chambers

NBS Specification:



This product is associated with the following NBS clauses:

[P31 Holes, chases, covers and supports for services](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Access-CoversKIGU600600Type3)

* [370 ACCESS COVERS/ GRATINGS FOR](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Access-CoversKIGU600600Type3)

Product Specification:

KIGGWU-600/300 – Kent In Ground Grey Water Unit

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: In Ground Power Unit

 • Type: KIGGWU-600/300/450 – Grey Water Unit

 • Size: 600mm wide x 450mm Long x 450mm Deep x 70mm Deep Tray

 • Material: Grade 316L stainless steel/ Grade 304 stainless steel

 • Loading: BS EN 124 B125 /FACTA B

 • Operation: Closed use

 • Accessories: 110mm diameter outlet/ Foul Air Trap

Suggested Specification:

KIGGWU-600/300 – Kent In Ground Grey Water Unit

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: In Ground Power Unit

 • Type: KIGGWU-600/300/450 – Grey Water Unit

 • Size: 600mm wide x 450mm Long x 450mm Deep x 70mm Deep Tray

 • Material: Grade 316L stainless steel

 • Loading: BS EN 124 B125 /FACTA B

 • Operation: Closed use

 • Accessories: 110mm diameter outlet/ Foul Air Trap