NBS Specification:



This product is associated with the following NBS Create clause:

45-40-65/370 Tree Grilles

NBS Specification:



This product is associated with the following NBS clauses:

[Q10](https://www.ribaproductselector.com/products/sitestreet-furnitureequipment/Q50.aspx)Kerbs/ edging/ channel/ paving accessories

* [305 TREE GRILLES AND SURROUNDS](https://www.ribaproductselector.com/products/benches/Q50_220.aspx)

[Q50 Site/street furniture/equipment](https://www.ribaproductselector.com/products/sitestreet-furnitureequipment/Q50.aspx)

* [262](https://www.ribaproductselector.com/products/seats/Q50_225.aspx)TREE GRILLES

Product Specification:

Kent Waterford Recessed Tree Pit

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +353 53 914 3216

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: KWRTP-1200

 • Dimensions: 1200 x 1200mm clear opening

 • Tray Depth: 100mm (to suit 80mm deep paving)

 • Inner Circle Radius: **TBC** \*

 • Material: Grade 316L Stainless steel

 • Finish: Bead blasted

 • Loading: **FACTA B (B125)/ FACTA AAA (A15)**\*\*

\*Please fill complete required loading and inner circle radius