NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/304 Covers and gratings for floor channels

NBS Specification:



This product is associated with the following NBS clauses:

[R11 Above ground foul drainage systems](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Drainage-GratingsKMG150207199)

* [310 FLOOR CHANNELS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Drainage-GratingsKMG150207199)
* [315 FLOOR DRAINS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Drainage-GratingsKMG150207199)

Product Specification:

KMG150/ 207/ 199

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: Plain Mesh Channel Grating

 • Type: KMG150 /KMG207

 • Size:

 - Width: 146 mm /196 mm

 - Depth: 25 mm /40 mm /50 mm

 - Grate: 207 x 207 mm /307 x 307 mm

 • Load class: A /B /C

 • Material: 1.4307 (304L) stainless steel /1.4404 (316L) stainless steel