NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/304 Covers and gratings for floor channels

NBS Specification:

NBS Buliding logo

This product is associated with the following NBS clauses:

[R11 Above ground foul drainage systems](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Drainage-GratingsKLG150207199)

* [310 FLOOR CHANNELS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Drainage-GratingsKLG150207199)
* [315 FLOOR DRAINS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Drainage-GratingsKLG150207199)

Product Specification:

KSG150/ 207/ 199 Slotted Grating

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: Slotted Grating

• Type: KSG150 /KLG207

• Size:

- Width: 146 mm /196 mm

- Depth: 25 mm /30 mm /40 mm /50 mm

- Grate: 207 x 207 mm /307 x 307 mm

• Load Class: A /B /C

• Material: 1.4307 (304L) stainless steel /1.4404 (316L) stainless steel

Suggested Specification:

KSG150 Slotted Grating

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: Kent Slotted Grating

• Type: KSG150

• Size:

- Width: 146 mm

- Depth: 25 mm

- Grate: Slotted

• Load Class: B

• Material: 1.4307 (304L) stainless steel