NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/310 Freestanding grease separators and converters

NBS Specification:



This product is associated with the following NBS clauses:

[R11 Above ground foul drainage systems](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Grease-TrapsGIKF9075Internalstainless)

* [380 GREASE TRAPS AND CONVERTERS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Grease-TrapsGIKF9075Internalstainless)

Product Specification:

GIKF9600 (Basement Freestanding) NS60

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: GIK9600 (Basement Freestanding) Grease Trap

(GIKF9520 – GIKF9610)

 • Size: Bespoke/ 6000mm x 2500mm x 2120mm high – NS60

(NS7, 10, 15, 20, 40, 55, 60, 65)

 • Material (body): Grade 304 stainless/ Grade 316 Stainless steel

 • Finish (body): Mill finish

 • Material (cover): Grade 304 stainless/ Grade 316 Stainless steel

 • Finish (Cover): Mill finish

 • Cover: Non-Trafficked

Product Specification- Recommended:

GIKF9600 (Basement Freestanding) NS60

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: GIK9600 (Basement Freestanding) Grease Trap

 • Size: 6000mm x 2500mm x 2120mm high – NS60

 • Material (body): Grade 304 stainless

 • Finish (body): Mill finish

 • Material (cover): Grade 304 stainless

 • Finish (Cover): Mill finish

 • Cover: Non-Trafficked