NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/306 Floor channels

NBS Specification:



This product is associated with the following NBS clauses:

[R11 Above ground foul drainage systems](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-External-DrainageSlotChannel)

* [315 FLOOR CHANNELS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-External-DrainageSlotChannel)

Product Specification:

 KEC65 Kent Economy Channel

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Tel: +353 53 914 3216

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: Kent Economy Channel

• Type: KEC65

• Length: 3000mm

• Loading class to BS EN 1433: A15

• Material: 1.4301 (304) stainless steel /1.4404 (316L) stainless steel

• Grating: Slotted / Diagonal Slotted / Interceptor

• Accessories: ½”BSP Side Outlet

Suggested Specification:

KEC65 Kent Economy Channel

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Tel: +353 53 914 3216

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: Kent Economy Channel

• Type: KEC65

• Length: 3000mm

• Loading class to BS EN 1433: A15

• Material: 1.4301 (304) stainless steel

• Grating: Slotted

• Accessories: ½”BSP Side Outlet